### MAHATMA GANDHI MISSION TRUST

ITEM RATE (WITH MATERIAL)

TENDER DOCUMENT

“PROPOSED ADDITION OVER THIRD FLOOR OF MGM MEDICAL COLLEGE BUILDING EAST & WEST SIDE WING ON PLOT NO. 1

SECTOR 1, KAMOTHE, NAVI MUMBAI, FOR

MAHATMA GANDHI MISSION TRUST”

# NAME OF THE CONTRACTOR

M/s.

Project Engineer,

+

SPACE FORUM ARCHITECTS PVT. LTD.

MGM SITE OFFICE PLOT NO 1, SECTOR 1, KAMOTHE ON KALAMBOLI JUNCTION NAVI MUMBAI

### MAHATMA GANDHI MISSION TRUST

MGM SITE OFFICE PLOT NO 1, SECTOR 1, KAMOTHE ON KALAMBOLI JUNCTION NAVI MUMBAI

NAME OF WORK: - ‘‘

- Proposed Addition over Third floor of MGM Medical College Building side wing having lecture hall on Third floor which includes proposed additional columns with footing from ground floor level to third floor level.

- Proposed addition over 4th floor of north wing of medical college.

- Proposed addition over 5th floor of central wing of medical college.

I N D E X

S.No                          	TITLE					PAGE NO.

- Notice Inviting Tender.				3

- Detailed Tender Notice.      				5

- General Description of work	.			8

- Instructions to Tender.				9

4.1	                       Performa for Submission of Tender.    		11

4.2		           Term and condition.			                       13

- Specification                                                             17

- Bill of quantity Third floor                                      26

6.1                        Bill of quantity Fourth floor                                    35

6.7                        Bill of quantity Fifth floor                                       40

- Drawing                                                                  47

Issued to: ________________________________________________

PROPOSED ADDITION OVER

(1) THIRD FLOOR OF MGM MEDICAL COLLEGE BUILDING EAST & WEST SIDE WING.

(2) PROPOSED ADDITION OVER 4th FLOOR OF NORTH WING

(3) PROPOSED ADDITION OVER FIFTH FLOOR

ON PLOT NO 1, SECTOR 1, KAMOTHE ON KALAMBOLI JUNCTION NAVI MUMBAI

1.					TENDER NOTICE

The registrar, MGM IHS on behalf of MGM Trust, Navi Mumbai invites online items rate with material, on basis if SOR 2020-2021 of Government of Maharashtra. e- Tender from registered experienced contractors having necessary documents like Income Tax Returns, Experience Certificate, Solvency Certificate, Machinery ownership proof and other statutory registrations etc. as per demand of office for the following works.

| Sr.No | Name of work | Estimated Project Cost | Earnest Monet Deposit | Tender Copy Price | Time Period |
| --- | --- | --- | --- | --- | --- |
| 1 | Third floor of MGM Medical college building east & west side wing. | Rs (INR). 2.6 Cr | Rs. 7.5 lakh | For work 1, 2& 3 Rs. 2000.00 | For work1, 2&3, 120 colander day |
| 2 | Proposed addition over 4th floor of north wing of medical college | Rs (INR). 0.62 Cr | Rs. 3.0 lakh |  |  |
| 3 | Proposed addition over 5th floor of central wing of medical college | Rs (INR). 1.45 Cr with lift and staircase | Rs. 5.5 lakh |  |  |

- Proposed addition over third floor of MGM Medical College Building side wing having lecture hall on Third floor which includes proposed additional columns with footing from ground floor level to third floor level and third floor superstructure 5.0 m ht.

- Proposed addition over 4th floor of north wing of medical college having RCC frame structure of 3.6mt. ht.

- Proposed addition over 5th floor of central wing of medical college having lecture hall with grid slab having 5.0 m ht.

All above 3 jobs structure have RCC frame structure AAC block masonry with side        plaster, internal ceiling plaster. Parapet wall and terrace top finishing with brick bat coba.

The third floor structure have new lobby at third floor level.

Tender documents and other details can be obtained from the website, www.mgmuhs.com

from 28-01-2021, 10: 30 hr. to 01-02-2021 16:00 hours. On payment of Rs 2000.00 as tender download price.

The MGM Trust reserves the right of issuing the tenders to the experienced agencies only.

The tender documents completed in all respect accompanied by Earnest Money Deposit (EMD) as above in the form of crossed Demand Draft payable to “MGM Trust Navi Mumbai” should be uploaded up to 02-02-2021 16:00 hr.

Online opening of technical bid will be on 03-02-2021 at 16:00 hours.

At the office of the registrar, MGM IHS, MGM Medical college Campus, on Plot no.1, Sector-1, Kamothe, Navi Mumbai. In the presence of bidders or their authorized representative.

The MGM Trust reserves its right to reject the lowest or any or all tenders without assigning any reason.

Registrar,

MGM Institute of Health Sciences

- DETAILED TENDER NOTICE TO THE CONTRACTORS

e- tenders are invited by Registrar MGM Institute of Health Sciences, for the work of ''

- Proposed addition over third floor of MGM Medical College Building side wing having four stepped lecture hall on Third floor which includes proposed additional columns with footing from ground floor level to third floor level. The Third floor structure has RCC frame structure of height 5.0mt. The covered roof slab is a grid slab, AAC block masonry with side plaster, parapet wall and terrace top finishing with brick bat coba. The third floor structure have new lift lobby from ground floor to third floor level, on plot no. 1 sector 18, Kamothe, Navi Mumbai, for Mahatma Gandhi Mission Trust.”

- Proposed addition over 4th floor of north wing of medical college building on north wing having 4 major halls and east side lift core. The fourth floor lift machine room on east side existing slab to be demolished and it is to be re casted at regular floor level. The Fourth floor structure has RCC frame structure of height 3.6m. , AAC block masonry with side plaster, parapet wall and terrace top finishing with brick bat coba. The third floor structure have new lift core at fourth floor level,

- Proposed addition over 5th floor of central wing of medical college, having 300 seating capacity lecture hall of 5.0mt .ht. The fifth floor structure has RCC frame structure of height 5.0mt. The covered roof slab is a grid slab, AAC block masonry with side plaster, parapet wall and terrace top finishing with brick bat coba. The fifth floor structure have new lift core from ground floor to fifth floor level. The lift shaft and staircase is M.S. frame structure, covered with 15 mm thk. Toughened glass.

The estimated cost of the work is

- Medical college building east & west side wing.                                Rs (INR). 2.6 Cr

- Proposed addition over 4th floor of north wing of medical college     Rs (INR). 0.62 Cr

- Proposed addition over 5th floor of central wing of medical college   Rs (INR). 1.45 Cr

- EMD (1) Rs.7.5 lakh     (2)   Rs.3.0 lakh    (3)   Rs.4.25lakh. The EMD amount in the form of bank draft or, NEFT to IDBI Bank Account No. 0183104000132763 Navi Mumbai.

- Completion pried for job 1, 2, 3, - 120 calendar days.

- e-Tender processing fees : for job 1,2,3, : Rs. 2000.

- Detailed NIT and Tender document can be downloaded from the website www.mgmuhs.com from 25-01-2021, 10:30 Hrs to 29-01-2021 16:00 Hrs.

- Last date of closing of tender (submission) uploading is 30-01-2021 ( 16:00 Hrs)

- Online opening of Technical Bid 01-02-2021 at 16:00 Hrs.

- Security Deposit  :-

- The amount of built-up security deposit will be 2.5% of the total work allocated to the tenderer.

- The balance amount of security deposit to be recovered from bills will be at 3% of the amount of bill, till total amount of Security Deposit becomes 2.5% of the cost of project.	work.

2.   	Tender Rates:-

The tendered should quote the item rates both in figures and in words in the bill of quantity and the total cost quoted at the place provided for in form. No 	alteration in the form of special conditions will be permitted. The tenders who do not 	fulfill any of the above conditions or are incomplete in any respect are liable to be 	summarily rejected. The contractor should particularly note the units on which the 	rates are based.

- The tendered may in the forwarding letter mention any point that he may wish to make it clear but right is reserved to reject the same or the whole tender if the same becomes a conditional one.

- The rates in the Bill of Quantities should be for civil work, no extra amount for carting or transporting will be paid unless specifically mentioned or provided. All the rates are inclusive of all lifts, height and lead overhead, machinery, insurance, Ceess and ESI for all material and completed items.

- The GST shall be extra as applicable.

3.	Acceptance of Tender:-

- Acceptance of tender will rest with the competent authority that reserves the right to reject any or all tenders without assigning any reasons thereof.

- The offer shall remain valid for a period of 180 days (one hundred eighty days) from the date of opening of tenders.

- The tenderer whose tender is accepted will have to enter into regular agreement within 7 days from the date of receipt of intimation of the acceptance of the tender and make payment of required security deposit. The tenderer will have to abide by all rules and regulations embodied therein. The amount of Earnest Money shall be forfeited to the Registrar MGM IHS , Navi Mumbai, if after the acceptance of the tender the contractor does not complete the contract documents and fails to pay the initial amount of Security Deposit mentioned above within 7 days of receipt by him of the notification of the acceptance of his tender.

- The Tenderer shall be assumed to have carefully examined the drawings, conditions & specifications of the contract and to have fully acquainted himself with all details of site location, materials, weather character, site labour conditions and in general all necessary information and data pertaining to the need of work prior to tendering for the work.

- Submission of Tender :-

The tender should be uploaded in two separate parts A and B. the part A will have fallowing:-

(a) An up to date and valid Income Tax payment copy/ copy of counterfoil of IT return in 	original or true copy.

- CESS Certificate / document copies showing assessment/payment made as applicable.

- List of similar works done during last three years in Prescribed format (Annexure I) supported by necessary certificates from owners.

- Details of other works tendered and in hand on the date of submission of this tender in prescribed format given in (Annexure II), enclose copies of work order.

- Details of Machinery owned by the Tenderer.

- Details of Technical personnel with the tenderer.

- Work program in the form of Bar Chart/CPM network showing timely completion of work.

(x)I. The parts B will have bill of quantities with specification, should be filled it completely in words and figure.

II Photocopy of EMD in the form of bank draft or NEFT paid copy.

8)    The tender will be liable to be rejected outright if while uploading it:-

- The tenderer proposes any alternation in the work specified in the tender or in the

time allowed for carrying out work or any other conditions.

- Any of the pages of the tender are not uploaded.

- Any erasures are made by him in the tender.

- All corrections and additions or pasted slips are not initialed by the tenderer.

- The tenderer in the case of a firm, a partner thereof does not sign and the signature/signatures are not attested by witness on pages of the tender in the space provided for the purpose.

- This tender notice shall form a part of contract agreement.

- Given Performa of submission of tender, shall be uploaded.

- In case of any dispute between the agencies the decision of the Chairman MGM Trust, Navi Mumbai, shall be final and binding on the agencies.

All other conditions remaining same, availability of the following minimum owned 	key and critical equipment for this work, will have preference in deciding the award.

S. No       Name of Equipment 	Size/ Capacity Specification		Nos.

1	Mixer				Half/full bag				1 each

2 	Hoist (lift)			Half/full bag load			1 each

3 	Vibrator 25/40mm dia niddle (Electrical driven, Diesel driven)	2 each

4        Tyre wheel Trolley 							6 Nos

5        Hammer drill  (5 kg & 10 kg)						1 each

6       Concrete/steel cutter							1 each

The MGM Trust reserves the right to reject the lowest or any or all tenders without assigning any reasons.

Registrar MGM  IHS

Signature of the Contractor                              Issued on Behalf and by the order of 	                  					                 Treasurer, MGM Trust, Navi Mumbai.

- GENERAL DESCRIPTION OF WORK

The project is for the Construction of Proposed addition over1. Third floor of MGM Medical College Building side wing having four stepped lecture hall on Third floor which includes proposed additional columns with footing from ground floor level to third floor level. The Third floor structure has RCC frame structure of height 5.0mt. The covered roof slab is a grid slab, AAC block masonry with side plaster, parapet wall and terrace top finishing with brick bat coba. The third floor structure have new lift lobby from ground floor to third floor level,

2. Proposed addition over 4th floor of north wing of medical college building on north wing having 4 major halls and east side lift core. The fourth floor lift machine room on east side existing slab to be demolished and it is to be re casted at regular floor level. The Fourth floor structure has RCC frame structure of height 3.6m. , AAC block masonry with side plaster, parapet wall and terrace top finishing with brick bat coba. The third floor structure have new lift core at fourth floor level,

- Proposed addition over 5th floor of central wing of medical college, having 300 seating capacity lecture hall of 5.0mt .ht. The fifth floor structure has RCC frame structure of height 5.0mt. The covered roof slab is a grid slab, AAC block masonry with side plaster, parapet wall and terrace top finishing with brick bat coba. The fifth floor structure have new lift core from ground floor to fifth floor level. The lift shaft and staircase is M.S. frame structure, covered with 15 mm thk. Toughened glass.

The scope of work shall consists of  removing/ demolition of structural column from parapet wall, and demolition of top layer of masonry work of parapet wall, demolished of RCC structure of lift machine room slab and disposing the same as directed by the MGM  Site Engineer. Construction of super structure and infrastructural works. This work includes proposed new column frame structure with footing from Ground floor level to Third floor level and entire Third floor civil and structure work.

The work also includes structural and civil work of proposed lift lobby (1 Nos.) third floor but excluding electrical, sanitary plumbing and water supply, flooring and door windows work. The scope of work also consist re baring of all diameter i.e. 12 to 25 mm with existing structure for resting of adjoin beam/ slab as directed be MGM site Engineer.

Disposal of Debris in the nearby plot as directed by MGM project engineer.

Signature of Contractor				                                   Engr.MGM

- INSTRUCTIONS TO TENDERERS

- e tenders shall be uploaded on or before is 30-01-2021(16:00 HRS) on website etenders@mgmuhs.com. The contractor must super scribe name of the work and contractors name on first page and put date and time before uploading the tender.

- Tenders will be opened on the day mentioned in the detailed tender notice if possible; otherwise the alternate date and time for the opening will be informed to the tenderer.

- Hard copy of the Drawings and other details are available to the renderer's representative for inspection at the MGM site office on working days during office hours.

- Right to reject the lowest or any other tender/tenders without assigning any reason is reserved by the owners.

- In case of proprietary concern the owner or his duly constituted attorney shall sign tender and also attach a copy of power of attorney to the tender. In the case of Partnership Firm/Consortium the tender shall be signed by partners of the firm and the names and addresses of other partners shall be submitted along with the tender. Certified copies of latest partnership deed and the necessary power of attorneys must be enclosed with the tender. In case of a limited or private limited company the tender shall be signed by duly authorized person and a copy of the authorization letter must be attached to the tender. In the case of firms and companies rubber stamps just are put along with the signatures.

- Tenderer shall submit along with the tender a Bar-Chart showing timely completion of the project.

- Tenderer must inspect the site and get completely familiar with the site conditions including floor heights, area for material stacking and area for providing and fixing lift and quote his rates accordingly and no extras will be payable beyond the accepted rates.

Signature of Contractor			                                     Engr., MGM

  - PROFORMA FOR SUBMISSION OF TENDER

Ref:										Date:

To,

The Treasurer,

Mahatma Gandhi Mission Trust, (MGM),

- SUB: - Proposed addition over third floor of MGM Medical College Building side wing having four stepped lecture hall on Third floor which includes proposed additional columns with footing from ground floor level to third floor level. The Third floor structure has RCC frame structure of height 5.0mt. The covered roof slab is a grid slab, AAC block masonry with side plaster, parapet wall and terrace top finishing with brick bat coba. The third floor structure have new lift lobby from ground floor to third floor level.

- Proposed addition over 4th floor of north wing of medical college building on north wing having 4 major halls and east side lift core. The fourth floor lift machine room on east side existing slab to be demolished and it is to be re casted at regular floor level. The Fourth floor structure has RCC frame structure of height 3.6m. , AAC block masonry with side plaster, parapet wall and terrace top finishing with brick bat coba. The third floor structure have new lift core at fourth floor level,

- Proposed addition over 5th floor of central wing of medical college, having 300 seating capacity lecture hall of 5.0mt .ht. The fifth floor structure has RCC frame structure of height 5.0mt. The covered roof slab is a grid slab, AAC block masonry with side plaster, parapet wall and terrace top finishing with brick bat coba. The fifth floor structure have new lift core from ground floor to fifth floor level. The lift shaft and staircase is M.S. frame structure, covered with 15 mm thk. Toughened glass.

Dear Sir,

- Having obtained the Tender Documents for the work under reference and having examined the scope of work and Conditions of Contract, we hereby offer to perform, provide, execute, complete and maintain the work in conformity with the Articles of Agreement, General Conditions of Contract, Special Conditions of Contract, detailed drawings and specifications in the amounts as quoted in the accompanying Tender within the stipulated time. We confirm that these works are to be approved by the Architect's and Engineer Incharge Of, MGM Trust, Navi - Mumbai.

- We have satisfied ourselves as to the location of the site and working conditions, foundation conditions, examined the requirements of Mahatma Gandhi Mission Trust, Navi - Mumbai and have obtained all the information necessary for the successful timely completion of the work.

- We have submitted to you along with this offer a work program in the form of Bar Chart to complete the work in specified time limit.

- We have deposited the necessary Earnest Money with you, which amount is not to bear any interest. We hereby agree that this sum shall stand forfeited in the event of your acceptance of our Tender and failure on our part to execute the Contract when called upon to do so within the stipulated time.

- We understand that you are not bound to accept the lowest Tender or not bound to assign any reasons for rejecting our Tender.

- We agree to keep our offer open for 365 (three hundred sixty five days) days from the date of opening of tender.

With thanks,

Yours faithfully,

Signature of Tenderer

(Authorized Signatory)

4.2 Terms & Conditions for finishing of Proposed addition over third floor of MGM Medical College Building side wing having  lecture hall on Third floor which includes proposed additional columns with footing from ground floor level to third floor level.

The Third floor structure have RCC frame structure AAC block masonry with both side plaster, parapet wall and terrace top finishing with brick bat coba. The third floor structure have new lift lobby on third floor level,

  - The Medical College 3rd floor will have height of 5.0mt. With grid beam structure, tie beams, lintel beams, RCC copping, RCC mullions, cills, RCC band on brick / block masonry. The Medical College 3rd floor also have chajja/box projections, Rebaring, Column Cladding, Civil work and finishing work of site development including masonry, intermediate beam, copping beam and both side plaster as per drawing.  And the MGM’s Trust will not pay any extra amount separately against it.

  - Proposed addition over 4th floor of north wing of medical college building on north wing having 4 major halls and east side lift core. The fourth floor lift machine room on east side existing slab to be demolished and it is to be re casted at regular floor level. The Fourth floor structure has RCC frame structure of height 3.6m. , AAC block masonry with side plaster, parapet wall and terrace top finishing with brick bat coba. The third floor structure have new lift core at fourth floor level,

  - Proposed addition over 5th floor of central wing of medical college, having 300 seating capacity lecture hall of 5.0mt .ht. The fifth floor structure has RCC frame structure of height 5.0mt. The covered roof slab is a grid slab, AAC block masonry with side plaster, parapet wall and terrace top finishing with brick bat coba. The fifth floor structure have new lift core from ground floor to fifth floor level. The lift shaft and staircase is M.S. frame structure, covered with 15 mm thk. toughened glass.

2. the civil and finishing work of job 1,1.1 .1.2 , as describe above includes civil and finishing work of all three floor with part footing foundation plinth beam ,tie beam , super stature and masonry work cooping plaster internal and external plaster construction of parapet wall copping beam, finishing of terrace with brick bed coba terrace structure and addition scaffolding  required for construction of upper floor at all floor s and the MGM trust will not pay any  extra amount separately against it.

3. The contractor have to arrange to consumable at his own cost such as nails and screws for shuttering and all type of cover block for RCC work of footing, column, beam and slab as specified in the drawing. If oil based putty is required to finish the MS plate shuttering joints, same is to be arrange and apply by the contractor, and the MGM Trust will not pay the extra amount separately against it.

  - Mode of measurement

Each item rate will be measured as per unit given in bill of quantity, on page no. …

- The cut out, open to sky or duct below 9.3 sq.m. i.e. 100 sq.ft. Shall not be deducted for area calculation. But area of 9.4 sq.m. Or above will be deducted from area calculation.

- The work to be carried out on site is strictly in accordance to the drawing provided and as per instruction of Site Engineer.

- All material required for execution of Civil and its finishing work i.e. steel, fe-500  steel binding wire 18 swg,  cement 53grade  of Birla ACC and Lafarge,  sand bags/ fine sand brought from Gujrat  , black trap  aggregate , RMC of brand Ultra tech  or Garaj have to be arrange by contractor at his own  cost.

Water (treated water for construction and portable drinking water for labour ) & electricity shall be provided by MGM Trust site office at one point, the further distribution of electricity and water distribution is to be carried out by contractor at his own cost. The MGM trust will provide meter to water supply and electricity supply and contractor have to pay its charges as per standard rate to MGM trust.

The contractor has to arrange to lift up the material at respective place at their own cost.

- If contractor delays the project above 60  days of completion, a penalty of                             Rs. 1,00,000.00 per day shall be applicable to the contractor

- The contractor must provide and have all necessary equipments, such as mechanical mixture, lift / winch, pumps drill and mechanical / electrical cutter, centering, shuttering and scaffolding, etc. The contractor also has to provide finishing equipment such as brush, broom or sponge at his own cost. The contractor also has to provide all safety equipments including hamlet, belts, first aid at his own cost.

- The labor camp/labor stay shall be permitted on site/ in the campus in specified area as directed by project engineer.

- The contractor must provide skilled labor on site, so inferior work must be avoided.

- The contractor shall be responsible for quality of work as per specification and drawing. If any improper work notice on site, the same shall be removed at contractor`s cost and reconstruction of it shall be done by the contractor at his own cost and his material.

- The wastage of material shall be controlled by contractor and it is the responsibility of the contractor.

- The contractor is fully responsible for curing of the job at his own cost. The required man power, pipe and pump are to be provided by contractor at his own cost. If unsatisfactory curing of the job is found on site, then the site engineer shall get it done from other agency and double the cost of the curing shall be recovered from contractor.

- The contractor should appoint a full time site engineer/ site supervisor. The contractor`s site supervisor must report daily to the MGM site in charge.

- The contractor have to respect the MGM Site office and dental college authority daily work schedule in terms of noise disturbance due to equipments or issue of life safety of the occupant while demolition of work. So contractor must obey the MGM Site office authority and should obey the work schedule and must carry out the work without disturbance or he should work in lean period only.

- It is binding to the contractor, to comply with labor laws with respect to his employees, workers who are engaged for work and, the contractor must show labor records to MGM as and when demanded for the inspection.

- The contractor is fully responsible for obtaining and maintaining the labor license. Their insurance and follow up to the other relevant rules shall be responsibility of the contractor.

- The contractor is fully responsible for any eventuality, accident or injury, force majeure happens/occurs at site at his own cost and consequences.

- The contractor is fully responsible for keeping and maintaining the PF account as per the rule & regulation is the sole responsibility of the contractor at his own cost.

- The contractor must provide following documents to MGM Site office administrative office are Adhaar card / PAN card and GST no. and GST registration copy.

- The contractor will submit in writing work / time schedule to MGM site office and he must strictly follow it.

- The quoted rates are applicable to all heights and all places. The quoted rates can be applicable to new work in the same campus or any maintenance work of the same building at different level; hence the above quoted rates are applicable and valid up to next 12 months.

- Time Schedule:  The finishing work of above mentioned project and its scope of work must be completed within 4 calendar months i.e. 120 colander days including all holidays from the issue of the work order.

- Payment terms and conditions :

21.1) The contractor shall be paid on account of work executed, under interim certificate issued by site engineer, once in month, against the running bill.

The contractor`s bill should be supported by detail measurements and he should submit it to site office. The site office will check the measurements and make record of quantities within three working days. The site office will submit the checked bill to MGM Site office for payment. The period of honoring interim bill/invoice shall be seven working days, form the date of submission to site office.

21.2) The final bill payment: The final bill payment shall be prepared within one month of hand over respective area and cleaning of site. The final certificate shall be issued within thirty days and same shall be honored within 30 days. Before issue of final payment the contractor shall have to accept the quantities, rates and amounts of each running bill and final bill.

- Taxes:  The GST, -   the GST shall be provided separately on bill payment as per time to time rules & regulation.

22.1)  The TDS : The TDS to be deducted from each running bill as per time to time rules & regulation by the employer.

22.2) The other applicable Govt. taxes if any over labor contract shall have to be borne by the contractor at his own cost.

22.3) The Employer shall reserved right to deduct the payment of work, which is not up to the mark and which is not as per specification / drawing.

- Advance : A lumpsum amount not exceeding  3% to 5% off  project cost shall be release as mobilization advance against bank grantee  at the time of issue of work order.

23.1   Recovery of advance shall be made by deducting from contractor`s running bill in suitable percentage as decided by project engineer.

- Security Deposit: The security deposit @ 5% of the gross running bill amount shall be deducted from each running bill tilt built-up security is 5% off project cost.

- Refund of security: 50% of security deposit shall be refundable to the contractor after finishing of all work and cleaning of site and while leaving site along with final bill. The remaining 50% shall be release after 365 days or one monsoon whichever is later of finalization of final bill. The 365 days shall be treated as defect liability period and any defect which shall occur in the period shall have to be rectified by the contractor at his own cost.

- The work shall be subjected to inspection by Trustee of MGM, Directors and Authorized representatives of the employer, so at the time of their site visit, the site must be accessible to them. The site shall be always well clean and well maintain.

That the terms and conditions mention in the work order agreement are 	acceptable to the contractor and shall be abided and no deviation shall be allowed.

This Tender form, its negotiated rates, and its terms and conditions are from the part of the work order agreement and are binding on both.

| DETAIL SUMMARY OF BOQ COST OF PROPOSED ADDITION OVER 4th, 5th & 6th FLOOR MGM HOSPITAL BUILDING AT KAMOTHE NAVI MUMBAI FOR MAHATMA GANDHI MISSION TRUST |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | ( AS PER SOR 2020-2021) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| S.no | Description | UNIT |  |  |  | Area in Sq.mt |  |  |  | Rate Per Sq.m. |  |  |  | Amount |  |  |  | REMARK |  |
| (A) | CIVIL WORK |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 1 | Estimated cost of civil work up to plinth level +columns up to 3rd floor level with tie beams : Including All RCC work, AACB masonry, internal, external cement plaster | Sq.mt. |  |  | 127.00 |  |  |  |  |  | 0.00 |  |  | Rs.0.00 |  |  |  |  |  |
| 2 | Estimated cost of civil work of 3rd floor and terrace floor with staircase tower: Including cost of RCC work, AACB masonry, parapet wall, internal | Sq.mt. |  |  | 1012.5 |  |  |  |  |  | 0.00 |  |  | Rs.0.00 |  |  |  |  |  |
|  |  | SUBTOTAL (A) |  |  |  |  |  |  |  |  |  |  |  | Rs.0.00 |  |  |  |  |  |
| BOQ OF CIVIL WORK OF PROPOSED ADDITION OVER 3rd FLOOR OF MGM MEDICAL COLLEGE BUILDING ON PLOT NO. 1 & 2, SECTOR 18,KAMOTHE NAVI MUMBAI FOR MAHATMA GANDHI MISSION TRUST |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Up to plinth level + ground floor, 1st and 2nd floor columns and tie beams |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| S.No. | ITEM DESCRIPTION |  | UNIT |  |  |  |  | RATE (Excluding GST) |  |  |  |  | QTY |  |  | AMOUNT |  |  |
|  | ( AS PER SOR 2020-2021) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 4 | Excavation for foundation in earth, soils of all types, sand, gravel and soft murrum, including removing the excavated material up to a distance of 50 metres beyond the building area and stacking and spreading as directed, dewatering, preparing the bed for the foundation and necessary back filling, ramming, watering including shoring and strutting etc. complete. (Lift from 1.5m to 3.0m) By Mechanical Means |  | Cubic metre |  |  |  |  |  |  |  |  |  | 1008.31 |  |  |  |  |  |
| 7 | Filling in plinth and floors with approved excavated material in 15cm. to 20cm. layers including watering and compacting etc. complete. |  | Cubic metre |  |  |  |  |  |  |  |  |  | 430.00 |  |  |  |  |  |
| 8 | Filling in plinth and floors with contractor material / brought from outside and approved by engineer incharge in layers of 15 to 20cm including watering and compacting etc. complete. |  | Cubic metre |  |  |  |  |  |  |  |  |  | 497.62 |  |  |  |  |  |
| 10 | Providing and laying Cast in situ/Ready Mix cement concrete in M-10 of trap/ granite/ quartzite/ gneiss metal for foundation and bedding including bailing out water, Steel centering, formwork, laying/pumping, compacting, roughening them if special finish is to be provided, finishing if required and curing complete, with fully automatic micro processor based PLC with SCADA enabled reversible Drum Type mixer/concrete Batch mix plant (Pan mixer) etc. complete. With fine aggregate (Crushed sand VSI Grade) |  | Cubic metre |  |  |  |  |  |  |  |  |  | 25.38 |  |  |  |  |  |
| 11 | Providing and laying Cast in situ/Ready Mix cement concrete M-25 of trap / granite /quartzite/ gneiss metal for R.C.C. work in foundations like raft, strip foundations, grillage and footings of R.C.C. columns and steel stanchions etc. including bailing out water, Steel centering, formwork ,cover blocks, laying/pumping, compaction and curing roughening the surface if special finish is to be provided (Excluding reinforcement and structural steel) etc. complete, with fully automatic micro processor based PLC with SCADA enabled reversible Drum Type mixer/ concrete Batch mix plant (Pan mixer) etc. complete. With fine aggregate (Crushed sand VSI Grade) |  | Cubic metre |  |  |  |  |  |  |  |  |  | 80.15 |  |  |  |  |  |
| 12 | Providing and laying Cast in situ/Ready Mix cement concrete M-25 of trap / granite /quartzite/ gneiss metal for R.C.C. columns as per detailed designs and drawings or as directed including steel centering, formwork, cover blocks, laying/pumping, compaction finishing the formed surfaces with cement mortar 1:3 of sufficient minimum thickness to give a smooth and even surface or roughening if special finish is to be provided and curing etc. complete,(Excluding reinforcement and structural steel).with fully automatic micro processor based PLC with SCADA enabled reversible Drum Type mixer/ concrete Batch mix plant (Pan mixer) etc. complete. With fine aggregate (Crushed sand VSI Grade) |  | Cubic metre |  |  |  |  |  |  |  |  |  | 57.02 |  |  |  |  |  |
| 13 | Providing and laying Cast in situ/Ready Mix cement concrete in M-25 of trap/ granite/ quartzite/ gneiss metal for R.C.C. beams and lintels as per detailed designs and drawings or as directed including steel centering, formwork, cover blocks, laying/pumping, compaction and roughening the surface if special finish is to be provided and curing etc. complete. (Excluding reinforcement and structural steel).with fully automatic micro processor based PLC with SCADA enabled reversible Drum Type mixer/ concrete Batch mix plant (Pan mixer) etc. complete. With fine aggregate (Crushed sand VSI Grade) |  | Cubic metre |  |  |  |  |  |  |  |  |  | 25.19 |  |  |  |  |  |
| 18 | Providing and fixing in position TMT - FE - 500 bar reinforcement of various diameters for R.C.C. pile caps, footings, foundations, slabs, beams columns, canopies, staircase, newels, chajjas, lintels pardis, copings, fins, arches etc. as per detailed designs, drawings and schedules. including cutting, bending, hooking the bars, binding with wires or tack welding and supporting as required complete. |  | Metric Tone |  |  |  |  |  |  |  |  |  | 19.00 |  |  |  |  |  |
| 26 | Providing internal cement plaster 12mm thick in single coat in cement mortar 1:4 without neeru finish to concrete or brick surfaces, in all positions including scaffolding and curing etc. complete |  | Square metre |  |  |  |  |  |  |  |  |  | 263.02 |  |  |  |  |  |
|  |  |  | TOTAL |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| BOQ OF CIVIL WORK OF PROPOSED ADDITION OVER 3rd FLOOR OF MGM MEDICAL COLLEGE BUILDING ON PLOT NO. 1 & 2, SECTOR 18,KAMOTHE NAVI MUMBAI FOR MAHATMA GANDHI MISSION TRUST |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 3rd FLOOR |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| S.No. | ITEM DESCRIPTION | UNIT |  |  |  |  | RATE (Excluding GST) |  |  |  |  | QTY |  |  | AMOUNT |  |  |  |
|  | ( AS PER SOR 2020-2021) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 1 | Dismantling brick masonry in lime or cement mortar and stacking the materials as directed with all leads, lifts etc. | Cubic metre |  |  |  |  |  |  |  |  |  | 30.19 |  |  |  |  |  |  |
| 2 | Removing rich mix cement concrete including stacking the spoils as directed with all leads, lifts etc, complete. | Cubic metre |  |  |  |  |  |  |  |  |  | 8.63 |  |  |  |  |  |  |
| 3 | Removing brick bat coba including stacking the spoils as directed with all leads, lifts etc, complete. | Cubic metre |  |  |  |  |  |  |  |  |  | 147.00 |  |  |  |  |  |  |
| 12 | Providing and laying Cast in situ/Ready Mix cement concrete M-25 of trap / granite /quartzite/ gneiss metal for R.C.C. columns as per detailed designs and drawings or as directed including steel centering, formwork, cover blocks, laying/pumping, compaction finishing the formed surfaces with cement mortar 1:3 of sufficient minimum thickness to give a smooth and even surface or roughening if special finish is to be provided and curing etc. complete,(Excluding reinforcement and structural steel).with fully automatic micro processor based PLC with SCADA enabled reversible Drum Type mixer/ concrete Batch mix plant (Pan mixer) etc. complete. With fine aggregate (Crushed sand VSI Grade) | Cubic metre |  |  |  |  |  |  |  |  |  | 48.52 |  |  |  |  |  |  |
| 13 | Providing and laying Cast in situ/Ready Mix cement concrete in M-25 of trap/ granite/ quartzite/ gneiss metal for R.C.C. beams and lintels as per detailed designs and drawings or as directed including steel centering, formwork, cover blocks, laying/pumping, compaction and roughening the surface if special finish is to be provided and curing etc. complete. (Excluding reinforcement and structural steel).with fully automatic micro processor based PLC with SCADA enabled reversible Drum Type mixer/ concrete Batch mix plant (Pan mixer) etc. complete. With fine aggregate (Crushed sand VSI Grade) | Cubic metre |  |  |  |  |  |  |  |  |  | 107.28 |  |  |  |  |  |  |
| 14 | Providing and laying Cast in situ/Ready Mix cement concrete M-25 of trap/ granite / quartzite/ gneiss metal for R.C.C. slabs and landings as per detailed designs and drawings including steel centering, formwork, cover blocks, laying/pumping, compaction finishing the formed surfaces with cement mortar 1:3 of sufficient minimum thickness to give a smooth and even surface or roughening if special finish is to be provided and curing etc. complete,(Excluding reinforcement and structural steel).with fully automatic micro processor based PLC with SCADA enabled reversible Drum Type mixer/ concrete Batch mix plant (Pan mixer) etc. complete. With fine aggregate (Crushed sand VSI Grade) | Cubic metre |  |  |  |  |  |  |  |  |  | 120.38 |  |  |  |  |  |  |
| 17 | Providing and laying Cast in situ/Ready Mix cement concrete in M-25 of trap / quartzite /granite /gneiss metal for R.C.C. Waist slab, and steps of staircases as per detailed design and drawings or as directed including steel centering, formwork, steel props, laying/pumping, compaction, finishing uneven and honeycombed surface with C.M. 1:3 of sufficient minimum thickness to give a smooth and even surface or roughening the surface if special finish is to be provided and curing etc. complete. (Excluding reinforcement, including cover block).(Newly laid concrete shall be covered by gunny bag, plastic, tarpaulin etc.) with fully automatic micro processor based PLC with SCADA enabled reversible Drum Type mixer/ concrete Batch mix plant (Pan mixer) etc. complete. With fine aggregate (Crushed sand VSI Grade) | Cubic metre |  |  |  |  |  |  |  |  |  | 4.19 |  |  |  |  |  |  |
| 18 | Providing and fixing in position TMT - FE - 500 bar reinforcement of various diameters for R.C.C. pile caps, footings, foundations, slabs, beams columns, canopies, staircase, newels, chajjas, lintels pardis, copings, fins, arches etc. as per detailed designs, drawings and schedules. including cutting, bending, hooking the bars, binding with wires or tack welding and supporting as required complete. | Metric Tone |  |  |  |  |  |  |  |  |  | 22.50 |  |  |  |  |  |  |
| 20 | Providing second class Burnt Brick masonry with conventional/ I.S. type bricks in cement mortar 1:4 in half brick thick wall including mild steel longitudinal reinforcement of 2 bars of 6 mm diameter / 2 hoop iron strips 25 mm X 1.6 mm placed at every third course, properly bent and bonded at ends scaffolding, racking out joints and watering etc. complete. | square metre |  |  |  |  |  |  |  |  |  | 6.83 |  |  |  |  |  |  |
| 21 | Providing Autoclaved Aerated Concrete Block masonary of Ecolite or equivalent make conforming to IS:2185 (Part 3) - 1984 in extra fine jointing mortar of fixoblock of UltraTech or equivalent in superstructure including striking joints, raking out joints and scaffolding etc. Complete. (The test shall be carried out conforming to IS:6441 (Part I) - 1972) | Cubic metre |  |  |  |  |  |  |  |  |  | 19.13 |  |  |  |  |  |  |
| 22 | Providing Autoclaved Aerated Concrete Block masonary of Ecolite or equivalent make conforming to IS:2185 (Part 3) - 1984 in extra fine jointing mortar of fixoblock of UltraTech or equivalent in Half brick thick wall including striking joints, raking out joints and scaffolding etc. Complete. (The test shall be carried out conforming to IS:6441 (Part I) - 1972) | square metre |  |  |  |  |  |  |  |  |  | 886.20 |  |  |  |  |  |  |
| 23 | Providing cement based water proofing treatment to terraces (Indian water proofing or alike) with brick bats laid in required slope to drain the water for any span after cleaning the base surface. Applying a coat of cement slurry admixed with approved water proofing compound and laying the brick bats on bottom layer in C.M.1:5 admixed with approved water proofing compound filling up to half depth of brick bats, curing this layer for 3 days, applying cement slurry over this layer joints of brick bats with C.M.1:3 admixed with approved water proofing compound and finally top finishing with average 20 mm. thick layers of same mortar added with jute fiber at 1Kilogramper bag including finishing the surface smooth with cement slurry admixed with approved water proofing compound. Marking finished surface with false squares of 300mm x 300 mm. making the junctions at the parapet rounded and tapered top for required height, with drip mould at the junction of plaster and parapet and curing and covering 10 years Guarantee against leakproofness on Court fee stamp paper of Rs. 500/- including ponding test etc. complete. | Square metre |  |  |  |  |  |  |  |  |  | 1004.77 |  |  |  |  |  |  |
| 24 | Providing water proofing plaster in WC and bath 20mm thick for dado in cement mortar 1:3 with neat finishing, floating using waterproofing compound at the rate of 1 kg per bag of cement of approved make and manufacturer and curring (and filling joints of nahani trap and any outlet by properly) etc . complete | Square metre |  |  |  |  |  |  |  |  |  | 9.00 |  |  |  |  |  |  |
| 25 | Providing waterproofing in W.C. and bath including brick bat coba in all position including In Rs. providing and laying 12mm bedding in cement mortor 1:3 on vergin concrete slab with waterproofing compound @ 1Kilogram/per bag of cement laying brick bat coba of required thickness in cm 1:5 with waterproofing compound 1 Kilogram/bag of cement grouting and finishing the top layer with 20mm thick brick bedding in cm mortor 1:3 with waterproofing compound 1 Kilogram/per bag of cement and testing the treated portion for 48 hours by pond test and covering ten years' guarantee on requisite stamp paper including curing etc. complete | Cu. Metre |  |  |  |  |  |  |  |  |  | 4.80 |  |  |  |  |  |  |
| 26 | Providing internal cement plaster 12mm thick in single coat in cement mortar 1:4 without neeru finish to concrete or brick surfaces, in all positions including scaffolding and curing etc. complete | Square metre |  |  |  |  |  |  |  |  |  | 1563.61 |  |  |  |  |  |  |
| 27 | Providing internal cement plaster 20mm thick in single coat in C:M 1:5 with out neeru finish to concrete, bricksurface in all position scaffolding curring etc all complete | Square metre |  |  |  |  |  |  |  |  |  | 1080.38 |  |  |  |  |  |  |
| 28 | Providing rough cast cement plaster externally in two coats to concrete, brick or stone masonry surfaces in all positions with base coat of 12 to 15 mm thick in C.M. 1:4 and rough cast treatment 12mm thick in proportion 1:1 1/2:3 including scaffolding and fourteen days curing complete. | Square metre |  |  |  |  |  |  |  |  |  | 2140.38 |  |  |  |  |  |  |
| 29 | Providing and fixing chicken mesh of 22 gauge, with about 30 cm. width at the junction of R.C.C members and brick work, of approved quality including fixing mesh in position by necessary drilling in concrete /B.B.masonry and or tying by binding wire etc. complete. | Square metre |  |  |  |  |  |  |  |  |  | 320 |  |  |  |  |  |  |
|  |  | TOTAL |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |

| DETAIL SUMMARY OF BOQ COST OF PROPOSED ADDITION OVER 4TH FLOOR OF MEDICAL COLLEGE BUILDING ON PLOT NO. 1 & 2, SECTOR 18,KAMOTHE NAVI MUMBAI FOR MAHATMA GANDHI MISSION TRUST |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  | ( AS PER SOR 2020-2021) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| S.no |  | Description |  | UNIT | Area in Sq.mt |  |  |  | Rate Per Sq.m. |  | Amount |  |  | REMARK |  |  |
| (A) |  | CIVIL WORK |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 1 |  | Estimated cost of civil work of 4th floor and terrace floor : Including cost of RCC work, AACB masonry, parapet wall, internal |  | Sq.mt. | 612.30 |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  | SUBTOTAL (A) |  |  |  |  |  |  |  |  |  |  |  |  |
| ABSTRACT OF ESTIMATE OF CIVIL WORK OF PROPOSED ADDITION OVER 4TH FLOOR OF MEDICAL COLLEGE BUILDING ON PLOT NO. 1 & 2, SECTOR 18,KAMOTHE NAVI MUMBAI FOR MAHATMA GANDHI MISSION TRUST |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 4th FLOOR |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| S.No. | ITEM DESCRIPTION |  |  |  |  |  |  | UNIT |  | RATE (Excluding GST) |  |  | QTY |  | AMOUNT |  |
|  | ( AS PER SOR 2020-2021) |  |  |  |  | ITEM NO (SSR) |  |  |  |  |  |  |  |  |  |  |
| 1 | Dismantling brick masonry in lime or cement mortar and stacking the materials as directed with all leads, lifts etc. |  |  |  |  | 46.09 |  | Cubic metre |  |  |  |  | 21.39 |  |  |  |
| 2 | Removing rich mix cement concrete including stacking the spoils as directed with all leads, lifts etc, complete. |  |  |  |  | 46.13 |  | Cubic metre |  |  |  |  | 6.00 |  |  |  |
| 3 | Removing brick bat coba including stacking the spoils as directed with all leads, lifts etc, complete. |  |  |  |  | 46.14 |  | Cubic metre |  |  |  |  | 82.72 |  |  |  |
| 11 | Providing and laying Cast in situ/Ready Mix cement concrete M-25 of trap / granite /quartzite/ gneiss metal for R.C.C. work in foundations like raft, strip foundations, grillage and footings of R.C.C. columns and steel stanchions etc. including bailing out water, Steel centering, formwork ,cover blocks, laying/pumping, compaction and curing roughening the surface if special finish is to be provided (Excluding reinforcement and structural steel) etc. complete, with fully automatic micro processor based PLC with SCADA enabled reversible Drum Type mixer/ concrete Batch mix plant (Pan mixer) etc. complete. With fine aggregate (Crushed sand VSI Grade) |  |  |  |  | 25.13 |  | Cubic metre |  |  |  |  | 69.81 |  |  |  |
| 18 | Providing and fixing in position TMT - FE - 500 bar reinforcement of various diameters for R.C.C. pile caps, footings, foundations, slabs, beams columns, canopies, staircase, newels, chajjas, lintels pardis, copings, fins, arches etc. as per detailed designs, drawings and schedules. Including cutting, bending, hooking the bars, binding with wires or tack welding and supporting as required complete. |  |  |  |  | 26.33 |  | Metric Tone |  |  |  |  | 21.80 |  |  |  |
| 21 | Providing Autoclaved Aerated Concrete Block masonry of Ecolite or equivalent make conforming to IS:2185 (Part 3) - 1984 in extra fine jointing mortar of fixoblock of UltraTech or equivalent in superstructure including striking joints, raking out joints and scaffolding etc. Complete. (The test shall be carried out conforming to IS:6441 (Part I) - 1972) |  |  |  |  | 27.15 |  | Cubic metre |  |  |  |  | 12.81 |  |  |  |
| 22 | Providing Autoclaved Aerated Concrete Block masonry of Ecolite or equivalent make conforming to IS:2185 (Part 3) - 1984 in extra fine jointing mortar of fixoblock of UltraTech or equivalent in Half brick thick wall including striking joints, raking out joints and scaffolding etc. Complete. (The test shall be carried out conforming to IS:6441 (Part I) - 1972) |  |  |  |  | 27.16 |  | square metre |  |  |  |  | 538.88 |  |  |  |
| 23 | Providing cement based water proofing treatment to terraces (Indian water proofing or alike) with brick bats laid in required slope to drain the water for any span after cleaning the base surface. Applying a coat of cement slurry admixed with approved water proofing compound and laying the brick bats on bottom layer in C.M.1:5 admixed with approved water proofing compound filling up to half depth of brick bats, curing this layer for 3 days, applying cement slurry over this layer joints of brick bats with C.M.1:3 admixed with approved water proofing compound and finally top finishing with average 20 mm. thick layers of same mortar added with jute fiber at 1Kilogramper bag including finishing the surface smooth with cement slurry admixed with approved water proofing compound. Marking finished surface with false squares of 300mm x 300 mm. making the junctions at the parapet rounded and tapered top for required height, with drip mould at the junction of plaster and parapet and curing and covering 10 years Guarantee against Court fee stamp paper of Rs. 500/-. complete. |  |  |  |  | 31.04 |  | Square metre |  |  |  |  | 613.20 |  |  |  |
| 24 | Providing water proofing plaster in WC and bath 20mm thick for dado in cement mortar 1:3 with neat finishing, floating using waterproofing compound at the rate of 1 kg per bag of cement of approved make and manufacturer and curring (and filling joints of nahani trap and any outlet by properly) etc . complete |  |  |  |  | 31.07 |  | Square metre |  |  |  |  | 14 |  |  |  |
| 25 | Providing waterproofing in W.C. and bath including brick bat coba in all position including In Rs. providing and laying 12mm bedding in cement mortor 1:3 on vergin concrete slab with waterproofing compound @ 1Kilogram/per bag of cement laying brick bat coba of required thickness in cm 1:5 with waterproofing compound 1 Kilogram/bag of cement grouting and finishing the top layer with 20mm thick brick bedding in cm mortor 1:3 with waterproofing compound 1 Kilogram/per bag of cement and testing the treated portion for 48 hours by pond test and covering ten years' guarantee on requisite stamp paper including curing etc. complete |  |  |  |  | 31.26 |  | Square metre |  |  |  |  | 30 |  |  |  |
| 26 | Providing internal cement plaster 12mm thick in single coat in cement mortar 1:4 without neeru finish to concrete or brick surfaces, in all positions including scaffolding and curing etc. complete |  |  |  |  | 32.40 |  | Square metre |  |  |  |  | 706.91 |  |  |  |
| 27 | Providing internal cement plaster 20mm thick in single coat in C:M 1:5 without neeru finish to concrete, brick surface in all position scaffolding curing etc all complete |  |  |  |  | 32.06 |  | Square metre |  |  |  |  | 1003.35 |  |  |  |
| 28 | Providing rough cast cement plaster externally in two coats to concrete, brick or stone masonry surfaces in all positions with base coat of 12 to 15 mm thick in C.M. 1:4 and rough cast treatment 12mm thick in proportion 1:1 1/2:3 including scaffolding and fourteen days curing complete. |  |  |  |  | 32.12 |  | Square metre |  |  |  |  | 1348.13 |  |  |  |
| 29 | Providing and fixing chicken mesh of 22 gauges, with about 30 cm. width at the junction of R.C.C members and brick work, of approved quality including fixing mesh in position by necessary drilling in concrete /B.B.masonry and or tying by binding wire etc. complete. |  |  |  |  | 32.26 |  | Square metre |  |  |  |  | 185 |  |  |  |
|  |  |  |  |  |  | TOTAL |  |  |  |  |  |  |  |  |  |  |

| DETAIL SUMMARY OF BOQ COST OF PROPOSED ADDITION OVER 5th FLOOR OF LECTURE HALL ATKAMOTHE NAVI MUMBAI FOR MAHATMA GANDHI MISSION TRUST |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| ( AS PER SOR 2020-2021) |  |  |  |  |  |  |
| S.no | Description |  | UNIT | Area in Sq.mt | Rate Per Sq.m. | Amount |
| (A) | CIVIL WORK |  |  |  |  |  |
| 1 | Estimated cost of civil work of 5th floor and terrace floor : Including cost of RCC work, AACB masonry, parapet wall, internal | Sq.mt. |  | 1,246.00 |  |  |
|  |  | SUBTOTAL (A) |  |  |  |  |

| BOQ OF CIVIL WORK OF PROPOSED ADDITION OVER 5th FLOOR OF LECTURE HALL AT KAMOTHE NAVI MUMBAI FOR MAHATMA GANDHI MISSION TRUST |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| 5th FLOOR |  |  |  |  |  |  |  |
| S.No. | ITEM DESCRIPTION |  | UNIT |  | RATE (Excluding GST) | QTY | AMOUNT |
|  | ( AS PER SOR 2020-2021) | ITEM NO (SSR) |  |  |  |  |  |
| 1 | Dismantling brick masonry in lime or cement mortar and stacking the materials as directed with all leads, lifts etc. | 46.9 | Cubic metre |  |  | 16.00 |  |
| 2 | Removing rich mix cement concrete including stacking the spoils as directed with all leads, lifts etc, complete. | 46.13 | Cubic metre |  |  | 17.01 |  |
| 3 | Removing brick bat coba including stacking the spoils as directed with all leads, lifts etc, complete. | 46.14 | Cubic metre |  |  | 135.60 |  |
| 12 | Providing and laying Cast in situ/Ready Mix cement concrete M-25 of trap / granite /quartzite/ gneiss metal for R.C.C. columns as per detailed designs and drawings or as directed including steel centering, formwork, cover blocks, laying/pumping, compaction finishing the formed surfaces with cement mortar 1:3 of sufficient minimum thickness to give a smooth and even surface or roughening if special finish is to be provided and curing etc. complete,(Excluding reinforcement and structural steel).with fully automatic micro processor based PLC with SCADA enabled reversible Drum Type mixer/ concrete Batch mix plant (Pan mixer) etc. complete. With fine aggregate (Crushed sand VSI Grade) | 25.33 | Cubic metre |  |  | 99.53 |  |
| 13 | Providing and laying Cast in situ/Ready Mix cement concrete in M-25 of trap/ granite/ quartzite/ gneiss metal for R.C.C. beams and lintels as per detailed designs and drawings or as directed including steel centering, formwork, cover blocks, laying/pumping, compaction and roughening the surface if special finish is to be provided and curing etc. complete. (Excluding reinforcement and structural steel).with fully automatic micro processor based PLC with SCADA enabled reversible Drum Type mixer/ concrete Batch mix plant (Pan mixer) etc. complete. With fine aggregate (Crushed sand VSI Grade) | 25.52 | Cubic metre |  |  | 237.51 |  |
| 14 | Providing and laying Cast in situ/Ready Mix cement concrete M-25 of trap/ granite / quartzite/ gneiss metal for R.C.C. slabs and landings as per detailed designs and drawings including steel centering, formwork, cover blocks, laying/pumping, compaction finishing the formed surfaces with cement mortar 1:3 of sufficient minimum thickness to give a smooth and even surface or roughening if special finish is to be provided and curing etc. complete,(Excluding reinforcement and structural steel).with fully automatic micro processor based PLC with SCADA enabled reversible Drum Type mixer/ concrete Batch mix plant (Pan mixer) etc. complete. With fine aggregate (Crushed sand VSI Grade) | 25.72 | Cubic metre |  |  | 118.35 |  |
| 15 | Providing and laying Cast in situ/Ready Mix cement concrete M-25 of trap/ granite/ quartzite/ gneiss metal for R.C.C. chajja as per detailed design and drawings including steel centering, formwork, cover blocks, laying/pumping, compacting and roughening the surface if special finish is to be provided and curing complete. (Excluding reinforcement and structural steel). with fully automatic micro processor based PLC with SCADA enabled reversible Drum Type mixer/ concrete Batch mix plant (Pan mixer) etc. complete. With fine aggregate (Crushed sand VSI Grade) | 26.07 | Cubic metre |  |  | 2.74 |  |
| 18 | Providing and fixing in position TMT - FE - 500 bar reinforcement of various diameters for R.C.C. pile caps, footings, foundations, slabs, beams columns, canopies, staircase, newels, chajjas, lintels pardis, copings, fins, arches etc. as per detailed designs, drawings and schedules. Including cutting, bending, hooking the bars, binding with wires or tack welding and supporting as required complete. | 26.33 | Metric Tone |  |  | 55.80 |  |
| 19 | Providing second class Burnt Brick masonry with conventional/ I.S. type bricks in cement mortar 1:6 in superstructure including striking joints, raking out joints, watering and scaffolding etc. Complete | 27.05 | Cubic metre |  |  | 49.04 |  |
| 20 | Providing second class Burnt Brick masonry with conventional/ I.S. type bricks in cement mortar 1:4 in half brick thick wall including mild steel longitudinal reinforcement of 2 bars of 6 mm diameter / 2 hoop iron strips 25 mm X 1.6 mm placed at every third course, properly bent and bonded at ends scaffolding, racking out joints and watering etc. complete. |  | square metre |  |  | 190.88 |  |
| 21 | Providing Autoclaved Aerated Concrete Block masonary of Ecolite or equivalent make conforming to IS:2185 (Part 3) - 1984 in extra fine jointing mortar of fixoblock of UltraTech or equivalent in superstructure including striking joints, raking out joints and scaffolding etc. Complete. (The test shall be carried out conforming to IS:6441 (Part I) - 1972) | # | Cubic metre |  |  | 160.52 |  |
| 23 | Providing cement based water proofing treatment to terraces (Indian water proofing or alike) with brick bats laid in required slope to drain the water for any span after cleaning the base surface. Applying a coat of cement slurry admixed with approved water proofing compound and laying the brick bats on bottom layer in C.M.1:5 admixed with approved water proofing compound filling up to half depth of brick bats, curing this layer for 3 days, applying cement slurry over this layer joints of brick bats with C.M.1:3 admixed with approved water proofing compound and finally top finishing with average 20 mm. thick layers of same mortar added with jute fiber at 1Kilogramper bag including finishing the surface smooth with cement slurry admixed with approved water proofing compound. Marking finished surface with false squares of 300mm x 300 mm. making the junctions at the parapet rounded and tapered top for required height, with drip mould at the junction of plaster and parapet and curing and covering 10 years Guarantee against leakproofness on Court fee stamp paper of Rs. 500/- including ponding test etc. complete. | 31.04 | Square metre |  |  | 1252.00 |  |
| 24 | Providing water proofing plaster in WC and bath 20mm thick for dado in cement mortar 1:3 with neat finishing, floating using waterproofing compound at the rate of 1 kg per bag of cement of approved make and manufacturer and curring (and filling joints of nahani trap and any outlet by properly) etc . complete | 31.07 | Square metre |  |  | 55.00 |  |
| 25 | Providing waterproofing in W.C. and bath including brick bat coba in all position including In Rs. providing and laying 12mm bedding in cement mortor 1:3 on vergin concrete slab with waterproofing compound @ 1Kilogram/per bag of cement laying brick bat coba of required thickness in cm 1:5 with waterproofing compound 1 Kilogram/bag of cement grouting and finishing the top layer with 20mm thick brick bedding in cm mortor 1:3 with waterproofing compound 1 Kilogram/per bag of cement and testing the treated portion for 48 hours by pond test and covering ten years' guarantee on requisite stamp paper including curing etc. complete | 31.26# | Square metre |  |  | 44.80 |  |
| 26 | Providing internal cement plaster 12mm thick in single coat in cement mortar 1:4 without neeru finish to concrete or brick surfaces, in all positions including scaffolding and curing etc. complete | 32.40 | Square metre |  |  | 1644.76 |  |
| 27 | Providing internal cement plaster 20mm thick in single coat in C:M 1:5 without neeru finish to concrete, bricksurface in all position scaffolding curring etc all complete | 32.6 | Square metre |  |  | 2416.59 |  |
| 28 | Providing rough cast cement plaster externally in two coats to concrete, brick or stone masonry surfaces in all positions with base coat of 12 to 15 mm thick in C.M. 1:4 and rough cast treatment 12mm thick in proportion 1:1 1/2:3 including scaffolding and fourteen days curing complete. | 32.12 | Square metre |  |  | 1389.14 |  |
| 29 | Providing and fixing chicken mesh of 22 gauges, with about 30 cm. width at the junction of R.C.C members and brick work, of approved quality including fixing mesh in position by necessary drilling in concrete /B.B.masonry and or tying by binding wire etc. complete. | 32.26 | Square metre |  |  | 300 |  |
|  |  | TOTAL |  |  |  |  |  |

Tender form filled with reasonable rates and uploaded.

For Mahatma Gandhi Mission trust                                                                                Contractor

Witness -I

Witness –II